## Overview
Preliminary assessment of site solar irradiance
Project | Bhainsarawan
Geographical coordinates | 25.343519°, 77.109373° (25°20'37", 077°06'34")
Report generated | 02 Feb 2024
Generated by | Global Solar Atlas
Map link | https://globalsolaratlas.info/map?s=25.343519,77.109373,10

## Site_info
Project | Bhainsarawan
Location | Bhainsarawan, Pohri Tahsil, India
Geographical coordinates | 25.343519°, 77.109373° (25°20'37", 077°06'34")
Time zone | UTC+05:30, Asia/Kolkata [IST]
Elevation | 489 m

## Map_data
Map data
Specific photovoltaic power output | PVOUT_specific | 1652.8 | kWh/kWp
Direct normal irradiation | DNI | 1542.5 | kWh/m²
Global horizontal irradiation | GHI | 1921.1 | kWh/m²
Diffuse horizontal irradiation | DIF | 887 | kWh/m²
Global tilted irradiation at optimum angle | GTI_opta | 2105.8 | kWh/m²
Air temperature | TEMP | 24.7 | °C
Optimum tilt of PV modules | OPTA | 27 | °
Terrain elevation | ELE | 489 | m

## Monthly_averages
Monthly averages
DNI
kWh/m²
Jan | 141
Feb | 155.4
Mar | 187
Apr | 169.9
May | 141
Jun | 96.3
Jul | 48.4
Aug | 61
Sep | 113.6
Oct | 156
Nov | 133
Dec | 140.6
Yearly | 1543.3

## Hourly_profiles
Average hourly profiles
Direct normal irradiation [Wh/m²]
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
0 - 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 - 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 - 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 - 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 - 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 - 6 | 0 | 0 | 0 | 2 | 13 | 9 | 2 | 2 | 0 | 0 | 0 | 0
6 - 7 | 0 | 7 | 74 | 155 | 139 | 94 | 27 | 40 | 104 | 85 | 35 | 0
7 - 8 | 171 | 254 | 363 | 366 | 282 | 191 | 71 | 103 | 254 | 352 | 271 | 206
8 - 9 | 381 | 477 | 533 | 513 | 415 | 291 | 131 | 163 | 357 | 498 | 428 | 421
9 - 10 | 498 | 599 | 645 | 615 | 515 | 371 | 176 | 209 | 428 | 592 | 530 | 535
10 - 11 | 579 | 681 | 710 | 670 | 567 | 411 | 202 | 235 | 461 | 640 | 591 | 607
11 - 12 | 617 | 710 | 730 | 687 | 574 | 411 | 211 | 245 | 469 | 654 | 610 | 633
12 - 13 | 620 | 709 | 726 | 672 | 543 | 386 | 209 | 256 | 453 | 629 | 589 | 621
13 - 14 | 593 | 674 | 700 | 616 | 483 | 344 | 192 | 233 | 418 | 571 | 537 | 576
14 - 15 | 522 | 605 | 606 | 534 | 402 | 278 | 148 | 192 | 359 | 487 | 451 | 495
15 - 16 | 411 | 505 | 508 | 437 | 311 | 216 | 102 | 151 | 288 | 377 | 324 | 363
16 - 17 | 156 | 309 | 371 | 318 | 216 | 146 | 63 | 103 | 178 | 147 | 66 | 79
17 - 18 | 1 | 20 | 66 | 79 | 88 | 63 | 26 | 35 | 17 | 1 | 0 | 0
18 - 19 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0
19 - 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 - 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 - 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 - 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 - 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sum | 4549 | 5550 | 6032 | 5664 | 4549 | 3211 | 1561 | 1967 | 3786 | 5033 | 4432 | 4536

## Glossary
Acronyms and glossary
Acronym | Full name | Unit | Type of use
DIF | Diffuse horizontal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of diffuse horizontal irradiation (© 2023 Solargis)
DNI | Direct normal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of direct normal irradiation (© 2023 Solargis)
ELE | Terrain elevation | m, ft | Elevation of terrain surface above/below sea level, processed and integrated from SRTM-3 data and related data products (SRTM v4.1 © 2004 - 2023, CGIAR-CSI)
GHI | Global horizontal irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global horizontal irradiation (© 2023 Solargis)
GTI | Global tilted irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation (© 2023 Solargis)
GTI opta | Global tilted irradiation at optimum angle | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation for PV modules fix-mounted at optimum angle (© 2023 Solargis)
OPTA | Optimum tilt of PV modules | ° | Optimum tilt of fix-mounted PV modules facing towards Equator set for maximizing GTI input (© 2023 Solargis)
PVOUT_specific | Specific photovoltaic power output | kWh/kWp | Yearly and monthly average values of photovoltaic electricity (AC) delivered by a PV system and normalized to 1 kWp of installed capacity (© 2023 Solargis)
PVOUT_total | Total photovoltaic power output | kWh, MWh, GWh | Yearly and monthly average values of photovoltaic electricity (AC) delivered by the total installed capacity of a PV system (© 2023 Solargis)
TEMP | Air temperature | °C, °F | Average yearly, monthly and daily air temperature at 2 m above ground. Calculated from outputs of ERA5 model (© 2023 ECMWF, post-processed by Solargis)